## Index
Index | Title
1 | Flows of the Maipo Rivers
2 | Turbidity events
3 | Extreme critical events
4 | Contributions to the productive matrix of the Aguas group
5 | Cumulative loss of aqueducts
6 | Cumulative loss in primary ponds
7 | Active Leak Management - Aguas Group
8 | Meters replaced
9 | Valves
10 | DMA
11 | ILP - ANR Global Water Group Volume
12 | Real and apparent loss
13 | Breakage rate
14 | Human consumption raw water
15 | Delivery of canal waters
16 | Well interventions
17 | Unblocking
18 | RM Housing

## 1. Flows of the Maipo Rivers
Flows of the Maipo and Mapocho rivers
River | Flow rate of 2024 (m3/s) | Historical average annual flow (m3/s)
River Maipo | 101.6 | 95.2
River Mapocho | 4.3 | 5.7

## 2. Turbidity events
Period | Maipo River Turbidity Events | UNT Max Average | Water Cuts | Total affected customers
1991-2011 | 14 | 15000 | 1 | 902000
2012-2017 | 9 | 149485 | 5 | 4933636
2018-2024 | 63 | 39691 | 5 | 13906

## 3. Extreme critical events
Event | Impact Indicator | 2024 indicator figure
Heavy rains in May, June and August | Affected points of the city | May: La Reina (without cut) / Conchali - Quilicura / San Joaquin / La Cisterna / San Ramon / Lo Barnechea June: Conchali - Quilicura / Lo Barnechea / Recoleta / PAC / Buin / San Joaquin / Pomaire / independence / Puente Alto (pear tree) / San Ramon / Central Station August: Quilicura, Lampa, Peñalolén, Vitacura and La Florida)
Extreme turbidity events | % over 3,000 UNT with highs of 20,000 UNT in the Maipo River | 01/01/2024 01-03-2024 13:00:00 01-26-2024 3:00:00 01-26-2024 14:00:00
Wind gusts linked to a frontal system in August | Total hours of temporary service suspensions (43,000 customers in Quilicura, Lampa, Peñalolén, Vitacura and La Florida) | Quilicura: 5 hours Lampa: 49.5 hours Peñalolen: 85 hours Vitacura: 92 hours La Florida: 51 hours Total: 282.5 hours
Extreme turbidity events | % over 3,000 UNT with highs of 20,000 UNT in the Maipo River | 01/01/2024 03-01-2024 maximum turbidity at 13:00:00 with 18,334 NTU and duration of 10 hours. 26-01-2024 3:00:00 26-01-2024 14:00:00

## 4. Contributions to the product
Contributions to the productive matrix of the Aguas Group
Production by source - Aguas Group
Year | % Surface Production (DDA) | % Surface production (desk) | % Surface production (purchases from channelers) | % Underground production
2017 | 85% |  |  | 15%
2018 | 57% |  | 26% | 17%
2019 | 49% |  | 32% | 19%
2020 | 41% |  | 38% | 21%
2021 | 48% | 3% | 28% | 21%
2022 | 48% | 8% | 20% | 24%
2023 | 56% | 8% | 12% | 24%
2024 | 78% | 0.23% |  | 22%
Production by source - Aguas Andinas
Year | % Surface Production (DDA) | % Surface production (desk) | % Surface production (purchases from channelers) | % Underground production
2017
2018 | 54% |  | 30% | 16%
2019 | 45% |  | 36% | 19%
2020 | 36% |  | 44% | 21%
2021 | 44% | 3% | 32% | 21%
2022 | 45% | 8% | 23% | 24%
2023 | 52% | 9% | 14% | 25%
2024 | 77% | 0% |  | 23%
Production by source - Aguas Cordillera
Year | % Surface Production (DDA) | % Surface production (desk) | % Surface production (purchases from channelers) | % Underground production
2017
2018 | 92% |  |  | 8%
2019 | 85% |  |  | 15%
2020 | 82% |  |  | 18%
2021 | 82% |  |  | 18%
2022 | 82% |  |  | 18%
2023 | 85% |  |  | 15%
2024 | 87% |  |  | 13%
Production by source - Aguas Manquehue
Year | % Surface Production (DDA) | % Surface production (desk) | % Surface production (purchases from channelers) | % Underground production
2017
2018 | 34% |  |  | 66%
2019 | 49% |  |  | 51%
2020 | 53% |  |  | 47%
2021 | 54% |  |  | 46%
2022 | 45% |  |  | 55%
2023 | 52% |  |  | 48%
2024 | 58% |  |  | 42%

## 5. Accumulated Loss of Acuedu
Date | Cumulative Loss of Aqueducts (Hm3)
Dic-22 | 16.1
Dic-23 | 17
Dic-24 | 16.7

## 6. Accumulated loss in pond
Date | Cumulative loss in primary tanks (1L) (Hm3)
Dec-22 | 4.4
Dec-23 | 5.4
Dec-24 | 9.9

## 7. Active leak management
Active Leak Management - Aguas Group
Year | Leaks attended to | km inspected | Flow rate (l/s)
2020 | 1490 | 1620 | 199
2021 | 2267 | 2340 | 218
2022 | 12442 | 5402 | 673
2023 | 14870 | 5297 | 886
2024 | 17865 | 5962 | 868
Active Leak Management - Aguas Andinas
Year | Leaks attended to | km inspected | Flow rate (l/s)
2020
2021
2022
2023 | 14859 | 5212 | 883
2024 | 17860 | 5944 | 868
Active Leak Management - Aguas Cordillera
Year | Leaks attended to | km inspected | Flow rate (l/s)
2020
2021
2022
2023 | 0 | 0 | 0
2024 | 0 | 0 | 0
Active leak management - Aguas Manquehue
Year | Leaks attended to | km inspected | Flow rate (l/s)
2020
2021
2022
2023 | 11 | 85 | 3.2
2024 | 5 | 18.4 | 0.2

## 8. Meters replaced
|  |  | AC |  |  | AM
Year | Meters replaced | Metrological Loss | Year | Meters replaced | Metrological Loss | Year | Meters replaced | Metrological Loss
2020 | 25548 | 6.4% | 2020 | 1055 | 4% | 2020 | 132 | 4%
2021 | 31568 | 6.4% | 2021 | 1357 | 3.9% | 2021 | 170 | 4%
2022 | 98871 | 6.19% | 2022 | 5050 | 3.7% | 2022 | 760 | 4%
2023 | 136181 | 5.65% | 2023 | 3991 | 3.3% | 2023 | 944 | 4%
2024 | 174066 | 4.94% | 2024 | 8544 | 3.2% | 2024 | 499 | 3%
| % of total meter park changed 2024 |  | % of total meter park changed 2024 |  |  | % of total meter park changed 2024
| 7.7 |  | 5 |  |  | 2.7
| Average age of meters |  | Average age of meters |  |  | Average age of meters
| 10.9 |  | 6.2 |  |  | 6.3

## 9. Valves
Item | 2024
Pressure regulating valves installed by the end of 2024 | 1050

## 10. DMA
Advanced DMA management
| 2023 |  |  | 2024 |  |  | 2025
Consolidated Water Group
Km | Cant | Km Red | Km | Cant | Km Red | Km | Cant | Km Red
0-25 | 82 | 885 | 0-25 | 99 | 1180 | 0-25 | 159 | 1621
25-50 | 25 | 870 | 25-50 | 49 | 1767 | 25-50 | 59 | 2032
50-100 | 27 | 2000 | 50-100 | 39 | 2833 | 50-100 | 51 | 3896
100-300 | 11 | 1684 | 100-300 | 23 | 3821 | 100-300 | 26 | 4278
300-800 | 8 | 3324 | 300-800 | 9 | 4239 | 300-800 | 5 | 2013
Total | 153 | 8763 | Total | 219 | 13839 | Total | 300 | 13839
| 2023 |  |  | 2024 |  |  | 2025
Aguas Andinas
Km | Cant | Km Red | Km | Cant | Km Red | Km | Cant | Km Red
0-25 | 76 | 814 | 0-25 | 93 | 1108 | 0-25 | 99 | 1164
25-50 | 23 | 811 | 25-50 | 46 | 1680 | 25-50 | 50 | 1727
50-100 | 26 | 1945 | 50-100 | 37 | 2677 | 50-100 | 44 | 3377
100-300 | 11 | 1684 | 100-300 | 19 | 3077 | 100-300 | 24 | 4027
300-800 | 8 | 3324 | 300-800 | 8 | 3766 | 300-800 | 5 | 2013
Total | 144 | 8579 | Total | 203 | 12309 | Total | 222 | 12309
| 2023 |  |  | 2024 |  |  | 2025
Aguas Cordillera
Km | Cant | Km Red | Km | Cant | Km Red | Km | Cant | Km Red
0-25 | 0 | 0 | 0-25 | 0 | 0 | 0-25 | 35 | 271
25-50 | 0 | 0 | 25-50 | 1 | 29 | 25-50 | 6 | 205
50-100 | 0 | 0 | 50-100 | 0 | 0 | 50-100 | 7 | 518
100-300 | 0 | 0 | 100-300 | 4 | 744 | 100-300 | 2 | 251
300-800 | 0 | 0 | 300-800 | 1 | 472 | 300-800 | 0 | 0
Total | 0 | 0 | Total | 6 | 1245 | Total | 50 | 1245
| 2023 |  |  | 2024 |  |  | 2025
Aguas Manquehue
Km | Cant | Km Red | Km | Cant | Km Red | Km | Cant | Km Red
0-25 | 6 | 71 | 0-25 | 6 | 72 | 0-25 | 25 | 186
25-50 | 2 | 58 | 25-50 | 2 | 58 | 25-50 | 3 | 100
50-100 | 1 | 54 | 50-100 | 2 | 155 | 50-100 | 0 | 0
100-300 | 0 | 0 | 100-300 | 0 | 0 | 100-300 | 0 | 0
300-800 | 0 | 0 | 300-800 | 0 | 0 | 300-800 | 0 | 0
Total | 9 | 183 | Total | 10 | 286 | Total | 28 | 286

## 11. ILP - ANR Global Gr Volume
ILP - ANR Global Water Group Volume
Year | ANR Volume | % ANR | Total ILP
2016 | 212 | 30.5% | 44
2017 | 218 | 28.4% | 45
2018 | 224 | 28.6% | 46.1
2019 | 238 | 29.9% | 48.9
2020 | 236 | 30.5% | 48.3
2021 | 237.3 | 30.4% | 48.4
2022 | 236.7 | 30.79% | 48.1
2023 | 234.4 | 30.65% | 47.4
2024 | 234.4 | 30.34% | 47.1
ILP - ANR Global Volume Aguas Andinas
Year | ANR Volume | % ANR | Total ILP
2016 | - | - | -
2017 | - | - | -
2018 | - | - | -
2019 | - | - | -
2020 | - | - | -
2021 | - | - | -
2022 | 215.3 | 32.15% | 49.8
2023 | 218.8 | 32.6% | 49.3
2024 | 217.3 | 32.17% | 48.8
ILP - ANR Global Aguas Cordillera Volume
Year | ANR Volume | % ANR | Total ILP
2016 | - | - | -
2017 | - | - | -
2018 | - | - | -
2019 | - | - | -
2020 | - | - | -
2021 | - | - | -
2022 | 17.1 | 22% | 43.4
2023 | 12.8 | 17.4% | 30.1
2024 | 14.5 | 18.85% | 34.04
ILP - Global ANR Volume Aguas Manquehue
Year | ANR Volume | % ANR | Total ILP
2016 | - | - | -
2017 | - | - | -
2018 | - | - | -
2019 | - | - | -
2020 | - | - | -
2021 | - | - | -
2022 | 4.3 | 20% | 54.6
2023 | 2.8 | 14.1% | 32
2024 | 2.57 | 12.85% | 30

## 12. Actual and apparent loss
Category | Type of loss | 2023 | 2024
Actual loss | Overflows and leaks from the aqueduct | 2.23% | 2.16%
| Well leaks - PEAP | 0.26% | Not applicable for 2024, the percentage of network leaks is incorporated
| Overflow and drainage of ponds | 0.94% | 1.41%
| Leaks in the drinking water network | 19.52% | 19.74%
| Total actual losses | 22.95% | 23.31%
Apparent loss | Insufficient accounting | 4.29% | 3.62%
| Other apparent losses | 3.41% | 3.42%
| Total apparent losses | 7.7% | 7.04%

## 13. Breakage rate
Breakage rate per 100km in Drinking Water, Aguas Group
Year | Rate
2021 | 15.3
2022 | 14.1
2023 | 13.9
2024 | 13.4

## 14. Human consumption of raw wa
Item | 2024
Additional raw water intended for human consumption | 1,8 Hm3

## 15. Delivery of water to canal
Item | 2024
% of water treated in biofactories delivered to canal associations | 7.4%

## 16. Well interventions
Item | 2024
l/s of water recovered to date thanks to well interventions | 1272

## 17. Unblocking
Item | 2024
Unblocking without overflows | 55354
Unblocking overflows | 21202
Total Unblocking | 76556

## 18. RM Housing
Item | 2024
Number of homes delivered in agreement with SERVIU and Seremi Vivienda | 6
Number of projects delivered in agreement with SERVIU and Seremi Vivienda sin rebolos | 1097
Number of homes in the Metropolitan Region without access to drinking water | 1.87%
% of homes in the Metropolitan Region without access to drinking water | 40217